## Log
Fire Extinguisher Monthly Inspection Log
Fire Protection · Log · Free template from forz.io
Company:
Date:
Technician:
Extinguisher & location
Item | Result (Pass / Fail / N/A) | Notes
Building / facility
Service address
Floor / area
Mount type
Exact location
Manufacturer
Model
Cylinder serial #
Mfg. date (shell)
Agent type: ABC dry chem / BC dry chem / CO₂ / Water / mist / Class K / Clean agent
UL rating
Capacity (lb / gal)
Last annual maint.
Last 6-yr maint.
Last hydro test
Next hydro due
Owner / site contact & phone
Check key: mark each box ✓ pass, ✗ fail (enter code), or N/A
Item | Result (Pass / Fail / N/A) | Notes
1: In designated place
2: Visible, path unobstructed
3: Mounted secure, sign posted
4: Gauge in operable range
5: Full by weight or heft
6: Pull pin & tamper seal intact
7: Hose / horn / nozzle OK
8: No damage, corrosion, leaks
9: Label legible, facing out
10: Tag current, maint. not overdue
Monthly inspection record
Item | Result (Pass / Fail / N/A) | Notes
JAN
FEB
MAR
APR
MAY
JUN
JUL
AUG
SEP
OCT
NOV
DEC
Deficiencies & corrective action
Item | Result (Pass / Fail / N/A) | Notes
Month ¦ Code ¦ What was found ¦ Action taken ¦ Date fixed ¦ By
Deficiency codes
Item | Result (Pass / Fail / N/A) | Notes
B: Blocked / obstructed
P: Pin or seal missing
L: Wrong location
H: Hose / nozzle defect
G: Gauge out of range
W: Low weight
D: Damage / corrosion
T: Tag or label missing
S: Signage missing
O: Other (describe)
Inspector signature
Owner representative signature
Keep this record at least 12 months, or longer if your AHJ requires. Annual maintenance, 6-year maintenance, and hydrostatic testing are performed by a certified person and recorded on the service tag. Requirements vary by edition and jurisdiction; verify with your AHJ. This form is a starting point and does not replace the standard.