## Form
HVAC Service Work Order
HVAC · Form · Free template from forz.io
Company:
Date:
Technician:
Customer & site
Item | Result (Pass / Fail / N/A) | Notes
Customer name
Company
Account #
PO / authorization #
Billing contact
Phone
Email
Site contact & phone
Service site address
Unit served (suite / zone / tenant)
Priority
Job type: Demand service / Scheduled maint. / Install / Warranty / Callback
Response window
Technician
EPA 608 cert type & #
Equipment
Item | Result (Pass / Fail / N/A) | Notes
Equipment type: Packaged RTU / Split system / Heat pump / Mini-split / Furnace / Air handler / Chiller
Manufacturer / brand
Capacity (tons / BTU/h)
Voltage / phase
Outdoor unit model #
Outdoor unit serial #
Indoor / AHU model #
Indoor / AHU serial #
Refrigerant: R-410A / R-454B / R-32 / R-22
Nameplate charge (lb)
Filter size / qty / MERV
Metering device: TXV / EEV / Fixed orifice / piston / Cap tube
Unit location: Rooftop / Mech. room / Pad / Attic
Access notes
Warranty end: parts
Warranty end: labor
Reported problem & initial assessment
Item | Result (Pass / Fail / N/A) | Notes
Reported problem (customer's words)
Symptoms on arrival: No cooling / No heat / Short cycling / Noise / Water / Odor
Active fault codes / alarms
Thermostat type
Set point
Space temp
Mode tested: Cooling / Heating / Fan / Defrost
Call for stage(s)
Filter condition
Last reported service date
Visual: cabinet, coils, drain pan, wiring
Refrigerant circuit readings
Item | Result (Pass / Fail / N/A) | Notes
Outdoor ambient (°F)
Indoor return wet-bulb / dry-bulb (°F)
Suction pressure (psig)
Saturated suction temp (°F)
Discharge pressure (psig)
Saturated condensing temp (°F)
Suction line temp (°F)
Superheat, calculated (°F)
Liquid line temp (°F)
Subcooling, calculated (°F)
Compressor running amps vs. RLA (A)
Compressor LRA on start (A)
Condenser fan motor (A)
Indoor blower motor (A)
Run / start capacitor (µF)
Evaporator approach / coil delta-T (°F)
Airflow, combustion & electrical
Item | Result (Pass / Fail / N/A) | Notes
Total external static (in. w.c.)
Supply air temp (°F)
Return air temp (°F)
Supply / return delta-T (°F)
Heating temp rise (°F)
Gas inlet pressure (in. w.c.)
Gas manifold pressure (in. w.c.)
Flue O₂ / CO₂ (%)
Flue CO (ppm)
Stack temp (°F)
Flame sensor (µA)
Voltage L-L / L-N (V)
Voltage drop under load (V)
Component condition
Item | Result (Pass / Fail / N/A) | Notes
Contactor
Reversing valve
Crankcase heater
Ignitor / inducer operation
Heat exchanger (cracks, corrosion, soot)
Condensate drain flow & trap
Float switch
Drain pan
Belt, bearings & sheave alignment
Economizer / damper operation
Refrigerant tracking
Item | Result (Pass / Fail / N/A) | Notes
Refrigerant added: type
Amount added (lb / oz)
Cylinder lot / ID
Refrigerant recovered: type
Amount recovered (lb / oz)
Recovery cylinder ID
Full charge of appliance (lb)
Calculated leak rate (%)
Leak test result
Leak inspection method: Electronic / Bubble / UV / N₂ / standing pressure
Leak location(s)
Repair done or follow-up scheduled
Verification leak test & result
Certified recovery equipment
Recovery / reclaim disposition
Diagnosis & work performed
Item | Result (Pass / Fail / N/A) | Notes
Root cause / failure identified
Corrective work performed this visit
Components tested, cleaned, adjusted, or replaced
Conditions outside scope or requiring shutdown / lockout
Verification: System performance re-verified after repair (readings re-checked) / Before & after photos taken and attached
Parts & materials
Item | Result (Pass / Fail / N/A) | Notes
Qty ¦ Part # ¦ Description ¦ Source: truck / supplier / warranty / customer ¦ Unit price ¦ Line total
Labor
Item | Result (Pass / Fail / N/A) | Notes
Technician ¦ Arrive ¦ Depart ¦ Time on site ¦ Reg. hrs ¦ OT hrs ¦ Rate ¦ Labor total
Recommended repairs & quoted work
Item | Result (Pass / Fail / N/A) | Notes
Recommended repair / replacement ¦ Priority ¦ Quoted $ ¦ Approved ¦ Declined
Summary of charges
Item | Result (Pass / Fail / N/A) | Notes
Parts
Materials & shop supplies
Labor
Trip / diagnostic fee
Tax
Total
Results & recommendations
Item | Result (Pass / Fail / N/A) | Notes
Equipment left: Operational / Partially operational / Down
Reason (if not fully operational)
Open deficiencies & safety concerns
Recommended next maintenance visit
Payment method / terms
Office review (initials / date)
Customer signature (work & charges authorized)
Technician signature & EPA cert #
Targets: superheat and subcooling per metering device and manufacturer charging chart; compressor amps vs. nameplate RLA; capacitor vs. rated µF; total external static vs. design (≈0.5 in. w.c. is a commonly cited starting point); heating temperature rise within the furnace nameplate range. Always verify against the manufacturer's specifications for the specific unit. Refrigerant recordkeeping varies by refrigerant type and appliance charge under EPA Section 608 and the AIM Act; only EPA 608-certified technicians may open the refrigerant circuit. Verify requirements with your AHJ. This form is a starting point and does not replace procedures performed by qualified personnel.